## Foglio1
Number | Time | Working State | Alarm Code | DC Voltage Pv1(V) | DC Current Pv1(A) | DC Power Pv1(W) | DC Voltage Pv2(V) | DC Current Pv2(A) | DC Power Pv2(W) | AC Voltage U(V) | AC Voltage V(V) | AC Voltage W(V) | AC Current U(A) | AC Current V(A) | AC Current W(A) | Total Inverter Power(W) | AC Frequency(Hz) | Inverter Internal Operating Ambient Temperature(℃) | Power Factor | Dispersion Rate | Initialize the grounding voltage(V) | DC bus voltage(V) | Dc bus half voltage(V) | Insulation Resistance Realtime Value | Grid Voltage U(V) | Grid Voltage V(V) | Grid Voltage W(V) | Grid Current U(A) | Grid Current V(A) | Grid Current W(A) | Grid Total Active Power(W) | Grid Total Reactive Power(Var) | Grid Total Apparent Power(VA) | Grid Frequency(Hz) | Grid Power Factor(%) | Daily Energy to Grid(kWh) | Battery Voltage(V) | Battery Current(A) | Battery Power(W) | BMS Battery Voltage(V) | BMS Battery Current(A) | Battery SOC(%) | Battery SOH(%) | BMS Battery Charge Current Limit(A) | BMS Battery Discharge Current Limit(A) | Bypass AC Voltage(V) | Bypass AC Current(A) | Bypass Load Power(W)
128 | 17/03/2023 10:43:12 (UTC+01:00) | Normal |  | 110 | 10.8 | 1188 | 271.4 | 10.8 | 2931 | 248.5 | 0 | 0 | 15.4 | 0 | 0 | 4119 | 50.05 | 38.8 | 1 | 0 | 0 | 0 | 0 |  | 246.8 | 0 | 0 | 15.04 | 0 | 0 | 3670 | 597 | 3719 | 50.04 | 0 | 0 | 51.8 | -0.3 | -15.54 | 51 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
129 | 17/03/2023 10:48:15 (UTC+01:00) | Normal |  | 111.2 | 10.8 | 1201 | 274.6 | 10.7 | 2938 | 244.2 | 0 | 0 | 15.8 | 0 | 0 | 4139 | 50.02 | 38.9 | 1 | 0 | 0 | 0 | 0 |  | 242.4 | 0 | 0 | 15.37 | 0 | 0 | 3684 | 582 | 3730 | 50 | 0 | 0 | 51.7 | -0.3 | -15.51 | 50.97 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
130 | 17/03/2023 10:53:19 (UTC+01:00) | Normal |  | 114.6 | 10.5 | 1203 | 278.5 | 10.6 | 2952 | 248.9 | 0 | 0 | 15.6 | 0 | 0 | 4155 | 50.04 | 39.1 | 1 | 0 | 0 | 0 | 0 |  | 246.7 | 0 | 0 | 15.23 | 0 | 0 | 3716 | 589 | 3763 | 50 | 0 | 0 | 51.7 | -0.3 | -15.51 | 50.95 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
131 | 17/03/2023 10:58:22 (UTC+01:00) | Normal |  | 117.6 | 10.1 | 1188 | 274.9 | 10.9 | 2996 | 249.7 | 0 | 0 | 15.7 | 0 | 0 | 4184 | 50.05 | 39.3 | 1 | 0 | 0 | 0 | 0 |  | 248.7 | 0 | 0 | 15.23 | 0 | 0 | 3746 | 599 | 3793 | 50.04 | 0 | 0 | 51.7 | -0.3 | -15.51 | 50.93 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
132 | 17/03/2023 11:03:26 (UTC+01:00) | Normal |  | 109.3 | 11.1 | 1213 | 272 | 11 | 2992 | 251.5 | 0 | 0 | 15.8 | 0 | 0 | 4205 | 49.98 | 39.4 | 1 | 0 | 0 | 0 | 0 |  | 247.7 | 0 | 0 | 15.32 | 0 | 0 | 3757 | 584 | 3802 | 49.95 | 0 | 0 | 51.7 | -0.3 | -15.51 | 50.91 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
133 | 17/03/2023 11:08:29 (UTC+01:00) | Normal |  | 116.1 | 10.6 | 1231 | 272.1 | 11.2 | 3048 | 248.9 | 0 | 0 | 16 | 0 | 0 | 4278 | 49.98 | 39.6 | 1 | 0 | 0 | 0 | 0 |  | 244.7 | 0 | 0 | 15.58 | 0 | 0 | 3775 | 568 | 3818 | 49.95 | 0 | 0 | 51.7 | -0.3 | -15.51 | 50.89 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
134 | 17/03/2023 11:13:33 (UTC+01:00) | Normal |  | 111.9 | 11.1 | 1242 | 274.3 | 11.1 | 3045 | 249.4 | 0 | 0 | 16.1 | 0 | 0 | 4286 | 49.99 | 39.9 | 1 | 0 | 0 | 0 | 0 |  | 247.4 | 0 | 0 | 15.57 | 0 | 0 | 3813 | 581 | 3857 | 49.95 | 0 | 0 | 51.7 | -0.3 | -15.51 | 50.87 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
135 | 17/03/2023 11:18:36 (UTC+01:00) | Normal |  | 110.6 | 11.1 | 1228 | 272.3 | 11.1 | 3023 | 253.2 | 0 | 0 | 15.7 | 0 | 0 | 4250 | 50.01 | 40.0 | 1 | 0 | 0 | 0 | 0 |  | 251.3 | 0 | 0 | 15.23 | 0 | 0 | 3785 | 609 | 3834 | 49.95 | 0 | 0 | 51.6 | -0.3 | -15.48 | 50.84 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
136 | 17/03/2023 11:23:39 (UTC+01:00) | Normal |  | 111.6 | 11.2 | 1250 | 273.6 | 11.3 | 3092 | 255.5 | 0 | 0 | 15.7 | 0 | 0 | 4341 | 49.99 | 40.2 | 1 | 0 | 0 | 0 | 0 |  | 253.4 | 0 | 0 | 15.19 | 0 | 0 | 3806 | 617 | 3856 | 50 | 0 | 0 | 51.6 | -0.3 | -15.48 | 50.82 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
137 | 17/03/2023 11:28:43 (UTC+01:00) | Normal |  | 111.4 | 11.2 | 1248 | 273.1 | 11.2 | 3059 | 252.4 | 0 | 0 | 15.8 | 0 | 0 | 4306 | 49.99 | 40.2 | 1 | 0 | 0 | 0 | 0 |  | 249.2 | 0 | 0 | 15.4 | 0 | 0 | 3798 | 603 | 3846 | 50 | 0 | 0 | 51.6 | -0.3 | -15.48 | 50.8 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
138 | 17/03/2023 11:33:46 (UTC+01:00) | Normal |  | 112.6 | 11.2 | 1261 | 275.9 | 11.2 | 3090 | 250 | 0 | 0 | 16.1 | 0 | 0 | 4351 | 50 | 40.4 | 1 | 0 | 0 | 0 | 0 |  | 250.1 | 0 | 0 | 15.59 | 0 | 0 | 3858 | 609 | 3906 | 50 | 0 | 0 | 51.6 | -0.3 | -15.48 | 50.78 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
139 | 17/03/2023 11:38:49 (UTC+01:00) | Normal |  | 111.7 | 11.2 | 1251 | 273.4 | 11.2 | 3062 | 250.6 | 0 | 0 | 15.9 | 0 | 0 | 4313 | 50.04 | 40.5 | 1 | 0 | 0 | 0 | 0 |  | 248.6 | 0 | 0 | 15.55 | 0 | 0 | 3827 | 589 | 3872 | 50.04 | 0 | 0 | 51.6 | -0.3 | -15.48 | 50.77 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
140 | 17/03/2023 11:43:53 (UTC+01:00) | Normal |  | 111.1 | 11.1 | 1233 | 272.5 | 11.1 | 3025 | 250.3 | 0 | 0 | 16.1 | 0 | 0 | 4257 | 50.01 | 40.5 | 1 | 0 | 0 | 0 | 0 |  | 248.2 | 0 | 0 | 15.59 | 0 | 0 | 3830 | 594 | 3876 | 49.95 | 0 | 0 | 51.5 | -0.3 | -15.45 | 50.75 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
141 | 17/03/2023 11:48:56 (UTC+01:00) | Normal |  | 111.3 | 11.1 | 1235 | 274.2 | 11.1 | 3044 | 253.5 | 0 | 0 | 15.8 | 0 | 0 | 4279 | 50.04 | 40.5 | 1 | 0 | 0 | 0 | 0 |  | 251.6 | 0 | 0 | 15.38 | 0 | 0 | 3827 | 615 | 3876 | 50.04 | 0 | 0 | 51.5 | -0.3 | -15.45 | 50.73 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
142 | 17/03/2023 11:54:00 (UTC+01:00) | Fault | Grid Over Voltage | 330.1 | 0.1 | 33 | 332.6 | 0.1 | 33 | 238 | 0 | 0 | 0.8 | 0 | 0 | 66 | 50.04 | 40.0 | 1 | 0 | 0 | 0 | 0 |  | 241.3 | 0 | 0 | 1.88 | 0 | 0 | -111 | 425 | 439 | 50.04 | 0 | 0 | 51.3 | -3.2 | -164.16 | 50.7 | 1.3 | 100 | 100 | 0 | 150 | 229.9 | 0 | 0
143 | 17/03/2023 11:59:03 (UTC+01:00) | Fault | Grid Over Voltage | 328.3 | 0.1 | 33 | 329.1 | 0.1 | 33 | 235.7 | 0 | 0 | 0.8 | 0 | 0 | 65 | 50.02 | 33.9 | 1 | 0 | 0 | 0 | 0 |  | 238.8 | 0 | 0 | 1.86 | 0 | 0 | -111 | 417 | 431 | 50 | 0 | 0 | 51.1 | -3.3 | -168.63 | 50.58 | 1.3 | 100 | 100 | 0 | 150 | 229.9 | 0 | 0
144 | 17/03/2023 12:04:07 (UTC+01:00) | Normal |  | 300.3 | 7.5 | 2252 | 303 | 7.5 | 2273 | 246.1 | 0 | 0 | 17.1 | 0 | 0 | 4524 | 49.97 | 38.3 | 1 | 0 | 0 | 0 | 0 |  | 244.1 | 0 | 0 | 16.67 | 0 | 0 | 4029 | 581 | 4071 | 49.95 | 0 | 0 | 51.3 | -0.3 | -15.39 | 50.6 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
145 | 17/03/2023 12:09:10 (UTC+01:00) | Normal |  | 299.7 | 7.5 | 2248 | 301.5 | 7.5 | 2261 | 247.8 | 0 | 0 | 16.9 | 0 | 0 | 4509 | 49.98 | 39.6 | 1 | 0 | 0 | 0 | 0 |  | 245.7 | 0 | 0 | 16.4 | 0 | 0 | 3993 | 587 | 4036 | 50 | 0 | 0 | 51.3 | -0.3 | -15.39 | 50.59 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
146 | 17/03/2023 12:14:13 (UTC+01:00) | Normal |  | 300.7 | 7.4 | 2225 | 302.3 | 7.4 | 2237 | 249.2 | 0 | 0 | 16.8 | 0 | 0 | 4462 | 50.04 | 40.1 | 1 | 0 | 0 | 0 | 0 |  | 246.9 | 0 | 0 | 16.31 | 0 | 0 | 3991 | 580 | 4033 | 50 | 0 | 0 | 51.3 | -0.3 | -15.39 | 50.57 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
147 | 17/03/2023 12:19:17 (UTC+01:00) | Normal |  | 301.8 | 7.3 | 2203 | 302.9 | 7.3 | 2211 | 249.9 | 0 | 0 | 16.8 | 0 | 0 | 4414 | 50.04 | 40.2 | 1 | 0 | 0 | 0 | 0 |  | 248.1 | 0 | 0 | 16.25 | 0 | 0 | 3992 | 605 | 4038 | 50.04 | 0 | 0 | 51.3 | -0.3 | -15.39 | 50.56 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
148 | 17/03/2023 12:24:20 (UTC+01:00) | Normal |  | 301.3 | 7.4 | 2230 | 302.1 | 7.4 | 2236 | 251.7 | 0 | 0 | 16.7 | 0 | 0 | 4465 | 50.03 | 40.3 | 1 | 0 | 0 | 0 | 0 |  | 250 | 0 | 0 | 16.11 | 0 | 0 | 3991 | 599 | 4036 | 50 | 0 | 0 | 51.3 | -0.3 | -15.39 | 50.54 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
149 | 17/03/2023 12:29:23 (UTC+01:00) | Normal |  | 301.4 | 7.3 | 2200 | 302.1 | 7.3 | 2205 | 245.7 | 0 | 0 | 17.1 | 0 | 0 | 4405 | 50.03 | 40.3 | 1 | 0 | 0 | 0 | 0 |  | 243.6 | 0 | 0 | 16.51 | 0 | 0 | 3989 | 565 | 4029 | 50 | 0 | 0 | 51.2 | -0.3 | -15.36 | 50.53 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
150 | 17/03/2023 12:34:27 (UTC+01:00) | Normal |  | 301.8 | 7.4 | 2233 | 302.2 | 7.4 | 2236 | 250.4 | 0 | 0 | 16.8 | 0 | 0 | 4469 | 50.03 | 40.3 | 1 | 0 | 0 | 0 | 0 |  | 249.2 | 0 | 0 | 16.26 | 0 | 0 | 4015 | 600 | 4059 | 50 | 0 | 0 | 51.2 | -0.3 | -15.36 | 50.51 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
151 | 17/03/2023 12:39:30 (UTC+01:00) | Normal |  | 301.7 | 7.4 | 2233 | 302.4 | 7.4 | 2238 | 251 | 0 | 0 | 16.7 | 0 | 0 | 4470 | 50.04 | 40.3 | 1 | 0 | 0 | 0 | 0 |  | 248.8 | 0 | 0 | 16.31 | 0 | 0 | 4020 | 602 | 4065 | 50.04 | 0 | 0 | 51.2 | -0.3 | -15.36 | 50.5 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
152 | 17/03/2023 12:44:33 (UTC+01:00) | Normal |  | 301.7 | 7.4 | 2233 | 302.3 | 7.4 | 2237 | 251.5 | 0 | 0 | 16.7 | 0 | 0 | 4469 | 50.05 | 40.2 | 1 | 0 | 0 | 0 | 0 |  | 249.2 | 0 | 0 | 16.27 | 0 | 0 | 4015 | 602 | 4060 | 50.04 | 0 | 0 | 51.2 | -0.3 | -15.36 | 50.48 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
153 | 17/03/2023 12:49:37 (UTC+01:00) | Normal |  | 302.5 | 7.4 | 2239 | 303.4 | 7.4 | 2245 | 249.8 | 0 | 0 | 16.8 | 0 | 0 | 4483 | 50.03 | 40.2 | 1 | 0 | 0 | 0 | 0 |  | 247.7 | 0 | 0 | 16.36 | 0 | 0 | 4016 | 588 | 4059 | 50.04 | 0 | 0 | 51.2 | -0.3 | -15.36 | 50.47 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
154 | 17/03/2023 12:54:40 (UTC+01:00) | Normal |  | 301.1 | 7.5 | 2258 | 302 | 7.5 | 2265 | 249.9 | 0 | 0 | 16.8 | 0 | 0 | 4523 | 50.06 | 40.2 | 1 | 0 | 0 | 0 | 0 |  | 247.7 | 0 | 0 | 16.36 | 0 | 0 | 4017 | 585 | 4060 | 50.04 | 0 | 0 | 51.2 | -0.3 | -15.36 | 50.45 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
155 | 17/03/2023 12:59:44 (UTC+01:00) | Normal |  | 301.7 | 7.3 | 2202 | 303 | 7.3 | 2212 | 248.1 | 0 | 0 | 16.9 | 0 | 0 | 4414 | 50.03 | 40.2 | 1 | 0 | 0 | 0 | 0 |  | 246 | 0 | 0 | 16.46 | 0 | 0 | 4014 | 586 | 4057 | 50 | 0 | 0 | 51.2 | -0.3 | -15.36 | 50.44 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
156 | 17/03/2023 13:04:47 (UTC+01:00) | Normal |  | 302.1 | 7.3 | 2205 | 302.6 | 7.3 | 2209 | 246.2 | 0 | 0 | 17.1 | 0 | 0 | 4414 | 49.97 | 40.3 | 1 | 0 | 0 | 0 | 0 |  | 244.1 | 0 | 0 | 16.6 | 0 | 0 | 4017 | 588 | 4060 | 49.95 | 0 | 0 | 51.1 | -0.3 | -15.33 | 50.43 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
157 | 17/03/2023 13:09:50 (UTC+01:00) | Normal |  | 301.9 | 7.3 | 2204 | 302.5 | 7.3 | 2208 | 245.4 | 0 | 0 | 17.1 | 0 | 0 | 4412 | 50 | 40.3 | 1 | 0 | 0 | 0 | 0 |  | 243.3 | 0 | 0 | 16.58 | 0 | 0 | 3998 | 573 | 4039 | 49.95 | 0 | 0 | 51.1 | -0.3 | -15.33 | 50.41 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
158 | 17/03/2023 13:14:54 (UTC+01:00) | Normal |  | 301.1 | 7.4 | 2228 | 301.5 | 7.4 | 2231 | 247.1 | 0 | 0 | 17 | 0 | 0 | 4459 | 50.01 | 40.4 | 1 | 0 | 0 | 0 | 0 |  | 244.8 | 0 | 0 | 16.46 | 0 | 0 | 3997 | 564 | 4036 | 50 | 0 | 0 | 51.1 | -0.3 | -15.33 | 50.4 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
159 | 17/03/2023 13:19:57 (UTC+01:00) | Normal |  | 302.5 | 7.4 | 2239 | 303.4 | 7.4 | 2245 | 245.9 | 0 | 0 | 17.1 | 0 | 0 | 4483 | 50.04 | 40.3 | 1 | 0 | 0 | 0 | 0 |  | 244.1 | 0 | 0 | 16.48 | 0 | 0 | 3986 | 575 | 4027 | 50.04 | 0 | 0 | 51.1 | -0.3 | -15.33 | 50.39 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
160 | 17/03/2023 13:25:01 (UTC+01:00) | Normal |  | 302.5 | 7.3 | 2208 | 303.8 | 7.3 | 2218 | 248.4 | 0 | 0 | 16.9 | 0 | 0 | 4425 | 50.02 | 40.3 | 1 | 0 | 0 | 0 | 0 |  | 246.8 | 0 | 0 | 16.31 | 0 | 0 | 3992 | 576 | 4034 | 50 | 0 | 0 | 51.1 | -0.3 | -15.33 | 50.38 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0
161 | 17/03/2023 13:30:04 (UTC+01:00) | Normal |  | 301 | 7.4 | 2227 | 301.5 | 7.4 | 2231 | 250.6 | 0 | 0 | 16.7 | 0 | 0 | 4458 | 50.02 | 40.2 | 1 | 0 | 0 | 0 | 0 |  | 248.6 | 0 | 0 | 16.2 | 0 | 0 | 3991 | 586 | 4034 | 50 | 0 | 0 | 51.1 | -0.3 | -15.33 | 50.36 | 0 | 100 | 100 | 0 | 150 | 0 | 0 | 0